## Slide 1: High Current Pulse Generator for the Application of Transcranial Magnetic Stimulation
Advisor:
Professor Mani Mina
Clients:
Priyam Rastogi, Jayaprakash Selvaraj, Neelam Prabhu-Gaunkar
Team Members;
Curtis Richards, Yan Wang Brian Krkpatrick, Tania Alvarado, Abdul Bahashwan, Jonathan Rothfus
Notes: Chuck

## Slide 2: Sub-Teams
Power Circuit:
  Curtis Richards, Tania Alvarado, Abdul Bahashwan
Rectification Circuit:
  Yan Wang, Brian Kirkpatrick, Abdul Bahashwan
Micro-Controller Team:
  Jonathon Rothfus, Brian Kirkpatrick
Chassis Team:
  Tania Albarado, Yan Wang, Curtis Richards
Notes: Chuck

## Slide 3: Block Diagram of Circuit
Wall Outlet/
Input
Rectification Circuit
Power Circuit
Output/
Coils
Micro-Controller
Notes: Brian

## Slide 4: Functional Requirements
Peak Current 2000 Amperes Sustained for 400 Microseconds
Rise or Fall Time of 100 Microseconds
Machine Powered by a 120Vrms Wall Outlet
10 Pulses a Minute
Graphical User Interface (G.U.I)
Machine can Accept a Wide Range of Inductive Coil Designs
Notes: Yan

## Slide 5: Non-Functional Requirements
Multiple Rectifiers are Available for Backup in the Event of Damage
User Friendly G.U.I.
Heavy Duty Chassis
Built in Analog Voltmeter
Fans to Increase Circuit Cooling
Less Expensive than Similar Generators on the Market
Notes: Abdul

## Slide 6: Market Survey and Cost Analysis
Cost Calculations Include Components and Labor Overhead
Benchmarked Machine is Based off of Devices Currently used for Lab Testing
Estimated Cost Reduction of 90% per unit
Notes: Abdul

## Slide 7: Micro-Controller
Essential Functionality
  Relay Control
  IGBT Control
Desired Functionality
  Switch Waveform Types
  Switch Current Levels
  Monitor IGBT Temperature
Notes: Jon

## Slide 8: Micro-Controller System Diagram
Notes: Jon

## Slide 9: G.U.I. Concept
Notes: Jon

## Slide 10: Power Circuit
Notes: Chuck

## Slide 11: Rectification Circuit
Notes: Brian

## Slide 12: Technical Challenges
The Secondary and Primary Coils of the Transformer were Electrostatically Isolated
Mounting of Capacitors
Resistor Size
Notes: Abdul

## Slide 13: Operational Testing Overview
Test to Ensure Everything was Working as Designed
No Unforeseen Issues with Components
Notes: Yan

## Slide 14: Capacitor Testing
Successfully Charged the Capacitor through the Rectification Circuit to 240 V
Accurately Measured the Voltage of the Capacitor with an Analog Voltmeter and Digital Multimeter
Charging Time is Approximately 10 seconds
Notes: Yan

## Slide 15: Rectification Testing
Each of Our Rectification Circuits have been Tested without any Faults
Tested Individually Using Function Generator, Oscilloscope, and Voltmeter
Rectifier | Capacitance | Resistance | Frequency | Amplitude (Vrms) | D.C. Output | Pass/Fail
1 | 1 µF | 4.5 kOhms | 60 Hz | 3 V | 5.2 V | Pass
2 | 1 µF | 4.5 kOhms | 60 Hz | 3 V | 5.2 V | Pass
3 | 1 µF | 4.5 kOhms | 60 Hz | 3 V | 5.2 V | Pass
Notes: Yan

## Slide 16: IGBT Testing
Sent a Square Wave into the Gate with a D.C. Source as Input and Recorded the Output with the use of an Oscilloscope
Notes: Tania

## Slide 17: Output
Notes: Tania & Chuck

## Slide 18: Project Milestones & Schedule
Circuit Design
  Completed Week 8
Components and Budget
  Approved Week 9
Components Received
  Week 11
Circuit Wiring
  Completed Week 14
Operational Testing
  Completed Week 15
Notes: Yan

## Slide 19: Fall Schedule
Notes: Brian

## Slide 20: Questions

## Slide 21: Executive Summary
Define:
Team Members: Advisor: Professor Mani Mina
Clients: Priyam Rastogi, Jayaprakash Selvaraj, Neelam Prabhu-Gaunkar
Team: Curtis Richards, Yan Wang, Brian Kirkpatrick, Tania Alvarado, Abdul Bahashwan, Jonathan Rothfus
Start Date: January, 14 2018 End Date: Dec 12, 2018 24, 2017
Integrate Controlling Circuit
Build and Test Biphasic Machine
Block Diagram:
Next Semester;
Wall Outlet
Rectification Circuit
Power Circuit
Output/
Coils
Micro-Controller
Functional Requirements:
Peak Current 2000 Amperes Sustained for 400 Microseconds
Rise or Fall Time of 100 Microseconds
Machine Powered by a 120Vrms Wall Outlet
10 Pulses a Minute
Graphical User Interface (G.U.I)
Machine can Accept a Wide Range of Inductive Coil Design
Output:
Non-Functional Requirements:
Multiple Rectifiers are Available for Backup in the Event of Damage
User Friendly G.U.I.
Heavy Duty Chassis
Built in Analog Voltmeter
Fans to Increase Circuit Cooling
Less Expensive than Similar Generators on the Market
SDDEC04
Project Name: High Current Pulse Generator for the use of Transcranial Magnetic Stimulation.